## Sayfa1
129-0278.2
Serial Number | Qty | Definition
3AE5/00029165 | 1 | 3A5225-2 Vacuum Circuit Breaker 17,5kV Ir: 1250A tk: 3s 50/60Hz Isc: 31,5kA Ud/Up: 38/95kV O-0,3s-CO-15s-CO
2024-1004866340 | 1 | CT 4MA72-PL AYC 17,5kV 31,5kA/3s 2500/1-1A Indoor Block Type Current Transformer Rated short-time wihtstand voltage 38 kV Rated lightning impulse withstand voltage 95 kV Rated short-time withstand current 31,5 kA, 3 s 1250A/1-1-1 A Icth: 1,2 x In Idyn: 2,5 x Ith
2024-1004866341 | 1 | CT 4MA72-PL AYC 17,5kV 31,5kA/3s 2500/1-1A Indoor Block Type Current Transformer Rated short-time wihtstand voltage 38 kV Rated lightning impulse withstand voltage 95 kV Rated short-time withstand current 31,5 kA, 3 s 1250A/1-1-1 A Icth: 1,2 x In Idyn: 2,5 x Ith
2024-1004866342 | 1 | CT 4MA72-PL AYC 17,5kV 31,5kA/3s 2500/1-1A Indoor Block Type Current Transformer Rated short-time wihtstand voltage 38 kV Rated lightning impulse withstand voltage 95 kV Rated short-time withstand current 31,5 kA, 3 s 1250A/1-1-1 A Icth: 1,2 x In Idyn: 2,5 x Ith

## Sayfa2
Nr | List | Price | Price | EUR | 32.8282
2941633 | A7E0002941633 | #N/A | #N/A
11000003 | A7E0011000003 | 1338.51 | 40.7732
11000043 | A7E0011000043 | 1002.77 | 30.546
11000373 | A7E0011000373 | 1478.74 | 45.0448
11000403 | A7E0011000403 | 1141.34 | 34.7671
11003679 | A7E0011003679 | #N/A | #N/A
11007703 | A7E0011007703 | 284.22 | 8.6578
11007883 | A7E0011007883 | 330.26 | 10.0603
11020549 | A7E0011020549 | #N/A | #N/A
11023843 | A7E0011023843 | 869.14 | 26.4754
11023863 | A7E0011023863 | 974.06 | 29.6714
11030073 | A7E0011030073 | 499.37 | 15.2116
11030143 | A7E0011030143 | 906.86 | 27.6244
11030543 | A7E0011030543 | 505.33 | 15.3932
11030703 | A7E0011030703 | 904.56 | 27.5544
11032013 | A7E0011032013 | 122.66 | 3.7364
11032023 | A7E0011032023 | 122.66 | 3.7364
11033983 | A7E0011033983 | 4121.33 | 125.5424
11034103 | A7E0011034103 | 1480.97 | 45.1127
11034113 | A7E0011034113 | 1738.28 | 52.9508
11036603 | A7E0011036603 | 2309.58 | 70.3535
11038413 | A7E0011038413 | 965.44 | 29.4089
11038423 | A7E0011038423 | 1042.92 | 31.769
11038513 | A7E0011038513 | 2201.64 | 67.0655
11038553 | A7E0011038553 | 2201.64 | 67.0655
11039253 | A7E0011039253 | #N/A | #N/A
11039333 | A7E0011039333 | #N/A | #N/A
11039503 | A7E0011039503 | 100.94 | 3.0748
11039513 | A7E0011039513 | 100.94 | 3.0748
11042843 | A7E0011042843 | 551.59 | 16.8023
11043093 | A7E0011043093 | 509.04 | 15.5062
11050223 | A7E0011050223 | 76.33 | 2.3251
11051353 | A7E0011051353 | 1492.32 | 45.4585
11051803 | A7E0011051803 | 1915.51 | 58.3495
11052543 | A7E0011052543 | 223.32 | 6.8027
11055253 | A7E0011055253 | 42.44 | 1.2928
11055413 | A7E0011055413 | 69.87 | 2.1284
11055903 | A7E0011055903 | 2290.12 | 69.7608
11056183 | A7E0011056183 | 3695.9 | 112.5831
11056983 | A7E0011056983 | 2391.98 | 72.8636
11057023 | A7E0011057023 | 2391.98 | 72.8636
11057103 | A7E0011057103 | 111.74 | 3.4038
11060893 | A7E0011060893 | 79.13 | 2.4104
11061403 | A7E0011061403 | 94.55 | 2.8801
11061413 | A7E0011061413 | 137.08 | 4.1757
11062543 | A7E0011062543 | 54.5 | 1.6602
11063203 | A7E0011063203 | 123.34 | 3.7571
11063553 | A7E0011063553 | 109.48 | 3.3349
11063993 | A7E0011063993 | 216.1 | 6.5828
11065203 | A7E0011065203 | 327.63 | 9.9801
11065213 | A7E0011065213 | 229.54 | 6.9922
11065223 | A7E0011065223 | 229.54 | 6.9922
11065373 | A7E0011065373 | 634.57 | 19.33
11065393 | A7E0011065393 | 634.57 | 19.33
11066183 | A7E0011066183 | 223.41 | 6.8054
11067213 | A7E0011067213 | 48.65 | 1.482
11067453 | A7E0011067453 | 1126.35 | 34.3104
11067493 | A7E0011067493 | 491.11 | 14.96
11067723 | A7E0011067723 | 332.66 | 10.1334
11068883 | A7E0011068883 | 334.33 | 10.1842
11070073 | A7E0011070073 | 480.27 | 14.6298
11073433 | A7E0011073433 | 281.4 | 8.5719
11075983 | A7E0011075983 | 6128.36 | 186.6797
11076023 | A7E0011076023 | 5717.62 | 174.1679
11077713 | A7E0011077713 | 139.68 | 4.2549
11077723 | A7E0011077723 | 141.62 | 4.314
11082743 | A7E0011082743 | 1230.22 | 37.4745
11084670 | A7E0011084670 | 69.08 | 2.1043
11084690 | A7E0011084690 | 79.93 | 2.4348
11085133 | A7E0011085133 | 111.74 | 3.4038
11085143 | A7E0011085143 | 25.29 | 0.77037
11085293 | A7E0011085293 | 1217.12 | 37.0754
11085323 | A7E0011085323 | 806.98 | 24.5819
11091903 | A7E0011091903 | 111.74 | 3.4038
11091913 | A7E0011091913 | 111.74 | 3.4038
11092473 | A7E0011092473 | 23.13 | 0.70458
11092483 | A7E0011092483 | 25.29 | 0.77037
11095043 | A7E0011095043 | 646.46 | 19.6922
11095143 | A7E0011095143 | 646.46 | 19.6922
11095203 | A7E0011095203 | 2007.86 | 61.1627
11095213 | A7E0011095213 | 2048.3 | 62.3945
11095383 | A7E0011095383 | 718.35 | 21.8821
11926043 | A7E0011926043 | #N/A | #N/A
11926213 | A7E0011926213 | 308.29 | 9.391
11926223 | A7E0011926223 | 358.52 | 10.9211
11926453 | A7E0011926453 | 6259.02 | 190.6599
11927003 | A7E0011927003 | #N/A | #N/A
11934353 | A7E0011934353 | 727.4 | 22.1578
11936543 | A7E0011936543 | 1622.82 | 49.4337
11939523 | A7E0011939523 | 2218.06 | 67.5657
11942763 | A7E0011942763 | 2116.61 | 64.4754
11946463 | A7E0011946463 | 2417.19 | 73.6315
11951673 | A7E0011951673 | 2304.01 | 70.1839
11952223 | A7E0011952223 | 2793.68 | 85.1
11954943 | A7E0011954943 | 1490.86 | 45.414
11954963 | A7E0011954963 | 2326.63 | 70.8729
11955303 | A7E0011955303 | 1434.61 | 43.7005
11955323 | A7E0011955323 | 1961.49 | 59.7502
11957423 | A7E0011957423 | 152.35 | 4.6408
11957433 | A7E0011957433 | 152.35 | 4.6408
11957443 | A7E0011957443 | 318.86 | 9.713
11962853 | A7E0011962853 | 1926.24 | 58.6764
11963453 | A7E0011963453 | 13608.28 | 414.5302
11964343 | A7E0011964343 | 2461.14 | 74.9703
11967993 | A7E0011967993 | 10016.93 | 305.1319
11968123 | A7E0011968123 | 5755.8 | 175.331
11968153 | A7E0011968153 | 1317.46 | 40.132
11968173 | A7E0011968173 | 439.58 | 13.3903
11968203 | A7E0011968203 | 92.48 | 2.8171
11968253 | A7E0011968253 | 262.49 | 7.9959
11968633 | A7E0011968633 | 145.18 | 4.4224
11968643 | A7E0011968643 | 145.18 | 4.4224
11968653 | A7E0011968653 | #N/A | #N/A
11968683 | A7E0011968683 | #N/A | #N/A
11968863 | A7E0011968863 | 514.16 | 15.6621
11991623 | A7E0011991623 | 462.79 | 14.0973
11992363 | A7E0011992363 | 430.2 | 13.1046
11992703 | A7E0011992703 | 1667.39 | 50.7914
11993673 | A7E0011993673 | 2650.41 | 80.7358
11993913 | A7E0011993913 | 2903.92 | 88.4581
11994103 | A7E0011994103 | 1553.43 | 47.32
11994123 | A7E0011994123 | 1341.45 | 40.8627
11994223 | A7E0011994223 | 1258.33 | 38.3308
11995433 | A7E0011995433 | 213.04 | 6.4895
11995513 | A7E0011995513 | 377.33 | 11.4941
12900653 | A7E0012900653 | 5002.09 | 152.3717
12900713 | A7E0012900713 | 6666.29 | 203.066
12903393 | A7E0012903393 | 3656.2 | 111.3738
12908413 | A7E0012908413 | 3903.88 | 118.9185
12908493 | A7E0012908493 | 4109.82 | 125.1918
12908553 | A7E0012908553 | 568.78 | 17.326
12908583 | A7E0012908583 | 691.64 | 21.0685
12911163 | A7E0012911163 | 876.86 | 26.7106
12911203 | A7E0012911203 | 1116.96 | 34.0244
12912483 | A7E0012912483 | 681.31 | 20.7538
12912503 | A7E0012912503 | 827.89 | 25.2189
12913303 | A7E0012913303 | 348.64 | 10.6201
12913723 | A7E0012913723 | 2255.64 | 68.7104
12913763 | A7E0012913763 | 2249.98 | 68.538
12914003 | A7E0012914003 | 1993.64 | 60.7295
12916003 | A7E0012916003 | 2664.74 | 81.1723
12916203 | A7E0012916203 | 89.31 | 2.7205
12916223 | A7E0012916223 | 89.31 | 2.7205
12922433 | A7E0012922433 | 61.38 | 1.8697
12923943 | A7E0012923943 | 346.44 | 10.5531
12937573 | A7E0012937573 | 541.38 | 16.4913
12937593 | A7E0012937593 | 677.58 | 20.6402
12960883 | A7E0012960883 | 1667.3 | 50.7887
12960923 | A7E0012960923 | 1872.22 | 57.0308
12961273 | A7E0012961273 | 1915.15 | 58.3386
12961293 | A7E0012961293 | 2033.4 | 61.9406
12962223 | A7E0012962223 | 433.8 | 13.2142
12962233 | A7E0012962233 | 574.7 | 17.5063
12962813 | A7E0012962813 | 67.39 | 2.0528
12963403 | A7E0012963403 | 19.45 | 0.59248
12963443 | A7E0012963443 | 19.45 | 0.59248
12963543 | A7E0012963543 | 19.45 | 0.59248
12963573 | A7E0012963573 | 26.8 | 0.81637
12963583 | A7E0012963583 | 36.48 | 1.1112
12963883 | A7E0012963883 | 36.06 | 1.0984
12991093 | A7E0012991093 | 63.61 | 1.9377
12991383 | A7E0012991383 | 44.96 | 1.3696
17757543 | A7E0017757543 | 3335.3 | 101.5986
17757573 | A7E0017757573 | 9003.97 | 274.2755
76192173 | A7E0076192173 | 34.8 | 1.0601
76192183 | A7E0076192183 | 34.8 | 1.0601
30035020 |  | 0 | 0
30035100 |  | 0 | 0
30035500 |  | 0 | 0
30035501 |  | 0 | 0
30035181 |  | 0 | 0
30035183 |  | 0 | 0
30035502 |  | 0 | 0
30035505 |  | 0 | 0
30035503 |  | 0 | 0
30035510 |  | 0 | 0
30035520 |  | 0 | 0
30035530 |  | 0 | 0
30035545 |  | 0 | 0
30035543 |  | 0 | 0
30035544 |  | 0 | 0
30035535 |  | 0 | 0
30035525 |  | 0 | 0
30035550 |  | 0 | 0
30035551 |  | 0 | 0
30035552 |  | 0 | 0
30035515 |  | 0 | 0
30035513 |  | 0 | 0
30035514 |  | 0 | 0
30035590 |  | 0 | 0
30035540 |  | 0 | 0
30035570 |  | 0 | 0
30035182 |  | 0 | 0
30035690 |  | 0 | 0
30035600 |  | 0 | 0
30035610 |  | 0 | 0
30035620 |  | 0 | 0
30035630 |  | 0 | 0
30035635 |  | 0 | 0
30035650 |  | 0 | 0
30035651 |  | 0 | 0
30035652 |  | 0 | 0
30035660 |  | 0 | 0
30035640 |  | 0 | 0
30035670 |  | 0 | 0
30035800 |  | 0 | 0
30035810 |  | 0 | 0
30035820 |  | 0 | 0
30035560 |  | 0 | 0
30035184 |  | 0 | 0
11020549 |  | 0 | 0
11039333 |  | 0 | 167.28
11039253 |  | 0 | 155.74
11003679 |  | 0 | 0
11968683 |  | 0 | 171.17
11968653 |  | 0 | 166.49
11927003 |  | 554.77 | 16.8992
11926043 |  | 403.43 | 12.2891
11030383 |  | 1079.3 | 32.8772
12933103 |  | 1026.38 | 31.2652
11036613 |  | 2064.36 | 62.8837
11063383 |  |  | 0
11063393 |  |  | 0
11041113 |  | 5117.66 | 155.8922
11035583 |  | 1379.04 | 42.0078

## Sayfa3
Material | Material Description | Costing Result
A7E0011016330 | PADLOCK ANGLE | 123.82
A7E0011005180 | SUPPORT FOR CABLES 800mm | 186.01
A7E0011001250 | SUPPORT F. CABLE FIXING LEDGE | 70.08
A7E0011053550 | MC ROOF PLATE 800MM | 398.05
A7E0011006010 | SUPPORT F. CABLE FIXING LEDGE 2 | 65.21
A7E0011914130 | EM INTERLOCK SUPPORT 800mm | 160.99
A7E0011005520 | DOOR ANGLE | 127.83
A7E0011927610 | HV DOOR COVER TOP 800mm | 187.06
A7E0011911660 | CLAMP HV DOOR | 146.72
A7E0011008130 | DISTANCE LEDGE MC CLOSING SIDE | 64.28
A7E0011914160 | EM interlock bracket 800mm | 23.44
A7E0011053680 | MC BRACE VERTICAL LEFT 800MM | 291.19
A7E0012902060 | Top_cross_bar_CC_800mm | 158.22
A7E0011936400 | Support bushing top | 110.58
A7E0012902090 | Cross_bar_earthing_copper_CC_800 | 200.38
A7E0011053540 | CROSS PART COVER FRONT BOTTOM 800MM | 135.93
A7E0011936470 | SUPPORTING BRACKET 800mm | 171.53
A7E0011028340 | Arc fault plate MC right 600mm | 323.02
A7E0011053560 | FRONT COVER MC ROOF 800MM | 113.2
A7E0011936410 | Support bushing center | 107.88
A7E0011026770 | Angle 1 off | 127.04
A7E0011044890 | COVER F. CABLE DUCT 3 | 145.97
A7E0011026580 | HV-DOOR LABYRINTH VERT BOTTOM 800 LHF | 212.57
A7E0011059710 | Z-PART | 21.54
A7E0011002100 | DISTANCE LEDGE MC FRONT | 63.02
A7E0011053660 | DISTANCE LEDGE MC VERT. 800MM | 86.78
A7E0012902080 | Rear top cross bar outside CC | 176.11
A7E0011053530 | CROSS PART FRONT BOTTOM 800MM | 205.94
A7E0012902070 | Rear top cross bar inside CC | 179.02
A7E0011003020 | BOTTOM CROSS BAR CC 800MM | 113.29
A7E0011044380 | INSULATING PLATE TOP 800MM | 287.04
A7E0076434200 | ABDECKUNG F. GRENZTASTER | 36.82
A7E0011028330 | Arc fault plate MC side | 267.45
A7E0011059720 | Y-PART R | 32
A7E0011000110 | SEALING ANGLE F.BUSHING | 19.41
A7E0012904630 | Shutter support right 600mm Cassette | 315.26
A7E0011926300 | ANGLE 2 OFF | 130.24
A7E0011000290 | PR flap MC front, 600mm | 283.59
A7E0017217950 | Bracket f. shutter rods top SIQuench | 35.44
A7E0011059930 | Shutter support left MD 800 | 351.24
A7E0011000140 | MC bottom plate 600mm | 380.67
A7E0011018670 | MICROSWITCHES SUPPORT 800mm | 79.64
A7E0011936480 | SUPPORT BRACKET CENTER 800mm | 108.22
A7E0012903440 | Backwall ledge CC 800mm | 60.96
A7E0011030140 | Transport Angle 800mm+1000mm | 57.41
A7E0012906420 | Cover PR duct MC 600mm | 280.91
A7E0011059780 | GIDOE ANGLE SHUTTER MASK | 60.39
A7E0011006470 | STIFFENER 800MM | 162.81
A7E0011059960 | Guide bar right top | 90
A7E0011053460 | LABYRINTH MC RIGHT 600MM | 178.52
A7E0011936460 | DISTANCE LEDGE BUSHING 800mm | 49.28
A7E0011946260 | Guide bar left bottom | 113.46
A7E0011059700 | Y-PART L | 31.09
A7E0012901870 | Rear top cross bar outside CC 600mm | 146.41
A7E0012905600 | Arc fault plate 2 PR MC 800mm | 191.43
A7E0011026170 | Z-ANGLE FOR AUXILIARY SWITCH | 30.16
A7E0011047220 | GUIDE BAR LEFT ANGLE | 30.05
A7E0012901880 | Cross_bar_earthing_copper_CC_600 | 188.22
A7E0011000060 | MC BRACE VERTICAL RIGHT, 12kV | 174.3
A7E0011027280 | CABLE DUCT COVER TOP | 66.47
A7E0011047200 | GUIDE BAR LEFT BOTTOM | 118.32
A7E0011053480 | ROOF PLATE MC 600mm | 293.22
A7E0011053450 | LABYRINTH MC LEFT 600MM | 192.26
A7E0012906400 | Arc fault plate PR Duct MC 600mm | 356.09
A7E0012901860 | Rear top cross bar inside CC 600mm | 147.11
A7E0011954080 | Guide bar right angle | 30.82
A7E0011003770 | BRACKET F. SHUTTER RODS, 800mm | 24.59
A7E0011947900 | Shutter support left 600mm Cassette | 329.39
A7E0011936420 | Support bushing bottom | 123.11
A7E0011937170 | SUPPORTM BRACKET 600MM | 142.29
A7E0011058790 | COVER PLATE EARTHING BAR CC 40X5 | 11.04
A7E0011001450 | STOPPER FOR HV DOOR | 26.35
A7E0011002450 | PR flap front MC 800mm | 123.82
A7E0011000580 | COVER LEDGE PRC BACK | 108.3
A7E0011914190 | EM INTERLOCK SUPPORT 600mm | 165.3
A7E0011004170 | CABLE CHANNEL 2 | 108.89
A7E0011017430 | Cover f. cable duct front, VT box | 66.97
A7E0011944660 | Front ledge PR duct MC and PRC | 95.94
A7E0011947850 | HV DOOR LABYRINTH VERTICAL BOTTOM | 190.04
A7E0011002470 | PR flap CC right 800mm | 76.83
A7E0011053440 | CROSS PART COVER FRONT BOTTOM | 107
A7E0011053690 | MC BRACE VERTICAL LEFT, 12kV | 227.31
A7E0012901850 | Top_cross_bar_CC_600mm | 125.24
A7E0011009030 | Ledge | 33.88
A7E0011026160 | BRACKET FOR AUXILIARY SWITCH CC | 31.5
A7E0011086260 | INSULATING PLATE BOTTOM 800mm | 289.35
A7E0011026620 | HV-DOOR SPRING LABYRINTH VERTICAL | 118.98
A7E0012905510 | Front ledge Pr duct MC and PRC | 118.49
A7E0011053430 | CROSS PART FRONT BOTTOM, 600 | 172.17
A7E0011059970 | GUIDE BAR LEFT TOP | 67.09
A7E0011030500 | Sheet to transport BB Bars 1x | 87.67
A7E0011948120 | Cover inside HV-door top 600mm | 148.28
A7E0011000570 | Support bushing bottom, 600mm | 103.13
A7E0011000490 | Support bushing top, 600mm | 79.86
A7E0011937160 | SUPPORTM BRACKET CENTER | 83.54
A7E0011004370 | CABLE CHANNEL 3 800mm | 82.04
A7E0011001190 | BRACKET FOR C PROFILE, 600mm | 161
A7E0011004740 | STIFFENER 2 | 111.78
A7E0011003740 | MC BRACE VERTICAL RIGHT, 800mm | 207.91
A7E0011005730 | STIFFENER | 137.05
A7E0011008460 | ADAPTER | 12.66
A7E0011018620 | Microswitches support for ES 600mm | 59.44
A7E0012901910 | Partition_plate_MR-CC_600mm | 294.62
A7E0012906430 | Arc fault plate 2 PR duct MC 600mm | 126.97
A7E0011000500 | Support bushing center, 600mm | 81.08
A7E0011942940 | Sealing ledge for door labyrinth | 68.99
A7E0011004030 | Support 1 | 33.09
A7E0012905080 | Adapter plate f optical sensor 800mm | 10.6
A7E0011003760 | COVER F. DUCT MC BOTTOM 800mm | 44.29
A7E0011926030 | WINDOW FOR HV DOOR SION M | 44.41
A7E0011000010 | CABLE DUCT MC LEFT 600mm, 12KV | 172.24
A7E0011002510 | PR flap BBC top plate | 118.32
A7E0012906440 | Closing plate PR duct 600mm | 128.64
A7E0011004830 | STIFFENER 2 800MM | 134.6
A7E0011000390 | PR flap BBC top plate | 88.79
A7E0011000360 | Cover BBC 600mm | 309.96
A7E0011003310 | Microswitches support Spindle | 43.32
A7E0011000440 | BOTTOM CROSS BAR CC, 600mm | 87.2
A7E0011011100 | STIFFENER 800MM | 149.71
A7E0011044340 | INSULATING PLATE BOTTOM 600MM | 221.32
A7E0011003590 | COVER OF LV CABLE DUCT CTs 800mm | 89.62
A7E0012903480 | Backwall ledge CC 600mm | 43.52
A7E0011004360 | LV cable canal 800mm | 73.49
A7E0011946270 | Stiffener guide bar left bottom | 75.91
A7E0011004050 | Plate to close hole of ground bar on CC | 12.58
A7E0011028390 | Arc fault plate 600mm | 122.53
A7E0011045300 | Cable duct cover bottom MC MD | 91.14
A7E0011006300 | PR flap 2 BBC top plate 800mm | 112.66
A7E0011024120 | WINDOW FOR HV DOOR 600mm | 55.83
A7E0011937190 | Distance_ledge_bushing_600mm_CC | 24.21
A7E0011947860 | Sealing ledge for door labyrinth bottom | 73.25
A7E0011000320 | PR flap CC, 600mm | 61.77
A7E0011011090 | CABLE CHANNEL | 54.57
A7E0012903320 | Bracket shutter rods 600mm SIQuench | 32.77
A7E0011004160 | Cable channel 1 | 83.66
A7E0011026600 | PLATE FOR HV DOOR | 13.13
A7E0011003290 | Microswitch lever for Key in | 30.16
A7E0011948060 | HV DOOR SPRING LABYRINTH VERTICAL | 115.62
A7E0011058780 | PLATE TO CLOSE EARTHING BAR CUT-OUT | 12.18
A7E0011002060 | COVER F DUCT MC BOTTOM LEFT | 23.15
A7E0011082370 | WINDOW HV DOOR KEY | 73.4
A7E0011028290 | CABLE DUCT COVER TOP | 65.14
A7E0011003150 | SPRING BRACKET | 4.48
A7E0011009020 | Ledge | 26.01
A7E0011948110 | Plate for HV-door | 19.54
A7E0011006000 | PR flap 2 BBC top plate | 77.22
A7E0011940280 | LEDGE FOR PRC FRONT | 103.45
A7E0011934360 | SUPPORT F METAL TUBE | 73.67
A7E0011053510 | FRONT COVER MC ROOF, 600mm | 69.64
A7E0011011130 | STIFFENER 600MM | 116.84
A7E0002906323 | STUETZER NSS30/30-M8 KUVAG:NSS30/30-M8 | 27.81
A7E0002914283 | SWITCH | 40.54
A7E0011000003 | BUSBAR COMPARTMENT 600mm | 1338.51
A7E0011000013 | BUSBAR TOP PLATE 600mm | 1262.49
A7E0011000043 | COVER ROOF SHETT | 1002.77
A7E0011000280 | BBC top plate, 600mm | 513.39
A7E0011000373 | BUSBAR COMPARTMENT 800mm | 1478.74
A7E0011000383 | BUSBAR TOP PLATE 800mm | 1249.48
A7E0011000403 | COVER ROOF SHEET 800mm | 1141.34
A7E0011000610 | PRC backside 600mm | 448
A7E0011001460 | CROSS BRACE | 73.19
A7E0011002140 | PRC MP REAR SIDE 800mm | 564.39
A7E0011002440 | BBC top plate 800mm | 645.08
A7E0011002490 | Cover BBC 800mm | 352.57
A7E0011003620 | Activation sheet | 67.09
A7E0011004420 | STIFFENER BRACE MIDDLE, 800mm | 100.45
A7E0011004780 | Stiffener_2 | 59.62
A7E0011004810 | LEVER SHUTTER MASK LEFT | 133.69
A7E0011006330 | Mounting plate | 49.22
A7E0011007703 | SET OF SCREWS F BB 1250A 600 800MM | 284.22
A7E0011007760 | CABLE DUCT MC LEFT 800mm, VENT. | 218.26
A7E0011007883 | Set of screws for panel connection | 330.26
A7E0011008700 | STIFFENER BRACE UPPER, 800mm | 84.22
A7E0011017040 | Stopper | 87.34
A7E0011017070 | Guide rail support | 193.74
A7E0011018660 | MICROSWITCH LEVER FOR KEY-IN 800mm | 21.05
A7E0011019670 | HV DOOR LABYRINTH 40kA | 93.43
A7E0011019680 | HV DOOR LABYRINTH HORIZONTAL 40kA | 81.43
A7E0011023843 | PR duct CC 600mm | 869.14
A7E0011023863 | PR duct CC 800mm | 974.06
A7E0011025600 | COVER CB FOR HV DOOR | 10.05
A7E0011026550 | HV DOOR LABYRINTH VERT TOP 600 LHF | 181.92
A7E0011026560 | HV-DOOR LABYRINTH VERT TOP 800 | 249.81
A7E0011026610 | DISTANCE LEDGE | 139.97
A7E0011026750 | Angle 1 on | 127.04
A7E0011028060 | Support Arrestor left 600mm | 153.47
A7E0011028070 | Support Arrestor right 600mm | 153.47
A7E0011028090 | SUPPORT FOR ARRESTOR LEFT 800mm | 171.4
A7E0011028100 | SUPPORT FOR ARRESTOR RIGHT 800mm | 167.54
A7E0011029190 | HINGE PART 1 | 93.71
A7E0011030073 | LV cable duct + covers CC | 499.37
A7E0011030143 | Cable support 2 cables 600mm | 906.86
A7E0011030543 | LV cable duct + covers CC 800mm | 505.33
A7E0011030703 | Cable support for 2 cables 800mm | 904.56
A7E0011032013 | LV cable duct+covers CC 600mm for cap | 122.66
A7E0011032023 | LV cable duct+overs CC 800mm for cap i | 122.66
A7E0011033580 | MC bottom plate 800mm | 482.4
A7E0011033983 | Primary contact bolt 60mm | 4121.33
A7E0011034103 | Isolation plates between phases CC 3cabl | 1480.97
A7E0011034113 | INSULATING PLATE FOR 3 CABLES CC 600MM | 1738.28
A7E0011036603 | Connection_for_2_Cables_1250A | 2309.58
A7E0011038413 | ADDITIONAL FRAME FOR SUPPORT FOR BUSHING | 965.44
A7E0011038423 | ADDITIONAL FRAME FOR SUPPORT FOR BUSHING | 1042.92
A7E0011038513 | 3xBushing 1000A upper | 2201.64
A7E0011038553 | 3xBushing 1000A ower | 2201.64
A7E0011039120 | HINGE PART 2 | 65.27
A7E0011039503 | FASTENING PARTS FOR ES CC 600MM | 100.94
A7E0011039513 | FASTENING PARTS FOR ES CC 800MM | 100.94
A7E0011041450 | Support 2 800mm, 2000A | 115
A7E0011042843 | VT support for Arrestor 600mm | 551.59
A7E0011043093 | VT support for Arrestor 800mm | 509.04
A7E0011044320 | SHUTTER MASK BOTTOM 600MM 17.5kV | 228.16
A7E0011044490 | Arc fault plate 800mm | 128.59
A7E0011046760 | LEVER SHUTTER LEFT | 111.28
A7E0011048800 | HV DOOR CLOSING LEDGE | 270.01
A7E0011050223 | Earthing switch in CC adjustment parts | 76.33
A7E0011051353 | Insulating plates between phases CC | 1492.32
A7E0011051803 | Insulation plates for sidewall CC 17.5kV | 1915.51
A7E0011052310 | Lever shutter right with support | 153.87
A7E0011052330 | WASHER FOR SHUTTER ARM | 8.43
A7E0011052360 | LEVER SHUTTER MASK RIGHT | 109.3
A7E0011052543 | GROUND BAR CC MP 600-600/800MM | 223.32
A7E0011052710 | WASHER FOR SHUTTER ARM 38mm | 10.83
A7E0011052940 | SHUTTER MASK BOTTOM 800mm 17.5kV | 276.04
A7E0011052960 | SHUTTER FLAP 800mm | 61.81
A7E0011053490 | SIDEWALL MC LEFT 600mm | 1076.55
A7E0011053500 | SIDEWALL MC RIGHT 600/800 | 1084.27
A7E0011053520 | SIDEWALL MC LEFT 600/800 | 1100.01
A7E0011054850 | PR duct CC, 600mm | 649.76
A7E0011054870 | PR duct CC 800mm | 754.68
A7E0011055253 | COVER PLATE FOR EARTHING BAR CUTOUT MC | 42.44
A7E0011055413 | Ground bar CC EPR 800mm | 69.87
A7E0011055903 | Bar bushing CT 1250A | 2290.12
A7E0011056183 | Cable connection bar 4 cables 1250A | 3695.9
A7E0011056983 | 3x BUSHING <=1250A 800mm UPPER | 2391.98
A7E0011057023 | 3x BUSHING <=1250A 800mm LOWER | 2391.98
A7E0011057103 | SCREW SET FOR FASTENING OF CB 3AE5 WITH | 111.74
A7E0011058650 | GROUND BAR CC MP | 149.59
A7E0011059760 | Support plate for lamellas | 58.66
A7E0011060893 | Earthing connection HV door to frame | 79.13
A7E0011061153 | SLIDE COVER HV DOOR ES WELDING | 88
A7E0011061403 | Felt assembly MC 600mm | 94.55
A7E0011061413 | Felt assembly MC 800mm | 137.08
A7E0011062270 | Feeder bar L1 1250A-1250A | 873.3
A7E0011062280 | Feeder bar L2 1250A-1250A | 1278.96
A7E0011062290 | Feeder bar L3 1250A-1250A | 1385.71
A7E0011062543 | Shutter mask Labels | 54.5
A7E0011063203 | Hinge_for_door | 123.34
A7E0011063440 | Current bar CT 1250A | 708.62
A7E0011063553 | PINS FOR HINGE LHF | 109.48
A7E0011063993 | HV_door_additional_parts_ES_600mm | 216.1
A7E0011065203 | Arc fault plate 600mm | 327.63
A7E0011065213 | Screw set connection MC-CC-BBC 600mm | 229.54
A7E0011065223 | Screw set connection MC-CC-BBC 800mm | 229.54
A7E0011065373 | Arc fault plates f. MC sides 600mm | 634.57
A7E0011065393 | Arc fault plate for MC side 800mm | 634.57
A7E0011066020 | Connection bar ES 31.5 kA | 464.2
A7E0011066183 | Transport_f_BB_1x100 | 223.41
A7E0011067070 | Distance part for 1 and 2 cables | 178.15
A7E0011067213 | Earthing labels for HV door | 48.65
A7E0011067453 | Bottom plate MC wda | 1126.35
A7E0011067493 | Bottom plate MC 600mm | 491.11
A7E0011067723 | HV_door_additional_parts_with_ES | 332.66
A7E0011068883 | Arc fault plate 800mm | 334.33
A7E0011070073 | Microswitches for sliders 600mm | 480.27
A7E0011071673 | Lever shutter left insulated | 172.23
A7E0011072050 | Cable connection for 4 Cables | 1199.54
A7E0011073433 | Extension MC 800mm | 281.4
A7E0011075983 | MC 800mm LHF | 6128.36
A7E0011076023 | MC 600mm LHF | 5717.62
A7E0011077713 | Panel fixing to wooden plate 435 | 139.68
A7E0011077723 | Panel fixing to wooden plate 800 | 141.62
A7E0011080040 | ISOLATION PLATE 1 | 403.46
A7E0011080050 | ISOLATION PLATE 2 | 107.6
A7E0011081330 | INSULATING PLATE FOR CC 600MM | 745.55
A7E0011082743 | Shutter mechanism left 800 cassette MD | 1230.22
A7E0011084450 | Felt 30x2x480mm SN50031 | 3.67
A7E0011084670 | Sealing strip | 69.08
A7E0011084690 | Sealing strip | 79.93
A7E0011085133 | Screw set for fastening of CB 3AE5 | 111.74
A7E0011085143 | Cable strips for Cable Harness CB 3AE5 | 25.29
A7E0011085250 | FELT 30x2 500mm | 14.05
A7E0011085260 | FELT 30x2 516mm | 14.05
A7E0011085293 | EM interlock ES and spindle 800mm | 1217.12
A7E0011085310 | FELT 10x2 230mm | 14.05
A7E0011085323 | EM interlock ES and spindel 600mm | 806.98
A7E0011086130 | Insulating plate 1 800mm, 2000A | 415.46
A7E0011086380 | Insulation plate for sidewall CC 17.5kV | 746.84
A7E0011090093 | MOUNTING RAIL 400mm | 36.48
A7E0011090103 | MOUNTING RAIL 300mm | 33.46
A7E0011090213 | MOUNTING RAIL 600mm | 42.51
A7E0011090560 | Rating plate CB | 34.8
A7E0011091903 | Screwed sealing plug 600mm | 111.74
A7E0011091913 | SCREWED SEALING PLUG 800MM | 111.74
A7E0011092473 | Screw set LVC 600x630mm | 23.13
A7E0011092483 | Screw set for LVC 800x630mm | 25.29
A7E0011095043 | Cable Harness 800 59 nhf | 646.46
A7E0011095143 | Cable Harness 600 59 nhf | 646.46
A7E0011095203 | BTCT 3CARE IN L1,L2,L3 HARNESS | 2007.86
A7E0011095213 | BTCT 3CARE IN L1,L2,L3 HARNESS | 2048.3
A7E0011095383 | ES AUXILIARY SW HARNESS IN CC | 718.35
A7E0011901740 | LEVER FOR ES | 75.67
A7E0011909840 | STIFFENER FOR CC PR DUCT | 226.29
A7E0011909850 | PR DUCT CC BR BC 800mm | 1118.79
A7E0011910910 | HV DOOR ITERLOCK 800mm LHF | 103.29
A7E0011914140 | EM INTERLOCK ES LEVER 800mm | 81.97
A7E0011914150 | EM INTERLOCK SPINDLE LEVER 800mm | 70.71
A7E0011914170 | EM INTERLOCK ES LEVER 600mm | 72.33
A7E0011914180 | EM interlock spindle lever 600mm | 43.39
A7E0011916960 | SHUTTER MASK BOTTOM 600mm 17.5kV | 172.06
A7E0011916970 | SHUTTER FLAP 600mm 17,5kV | 42.31
A7E0011926000 | HV DOOR PLATE 600MM LHF | 1064.49
A7E0011926213 | COVER FOR ON | 308.29
A7E0011926223 | COVER FOR OFF | 358.52
A7E0011926290 | ANGLE 2 ON | 130.24
A7E0011926443 | HV_door_800mm_LHF_weld_assembly | 4008.18
A7E0011926453 | HV_door_800mm_LHF | 6259.02
A7E0011926493 | HV DOOR FELT | 111.53
A7E0011927600 | HV-door plate 800mm LHF | 1355.02
A7E0011927720 | FELT 30x2 516mm | 12.75
A7E0011933790 | SUPPORT F LV PLUG | 140.96
A7E0011934340 | COVER PLATE TOP LVB 600mm | 69.03
A7E0011934343 | LEVER COMPLETE | 154.72
A7E0011934350 | COVER PLATE DOWN LVB 600mm | 80.15
A7E0011934353 | Auxiliary switch for ES CC complete | 727.4
A7E0011934380 | COVER PLATER DOWN LVB | 81.1
A7E0011936190 | COVER FOR LOCK 2 | 141.75
A7E0011936490 | Transformer_mounting_plate_800mm | 840.24
A7E0011936543 | CC_pressure_relief_duct_powder_coa._BR_B | 1622.82
A7E0011937150 | TRANSFORMER MOUNTING PLATE 600MM | 698.21
A7E0011937970 | COVER PLATE SLIDE 800MM | 70.69
A7E0011938390 | CB INTERLOCK FOR HV DOOR | 15.67
A7E0011939523 | Primary_contact_bolt_40mm_SION_M | 2218.06
A7E0011940130 | PRC roof plate 800mm | 645.13
A7E0011942763 | Support_for_Bushing_and_CT_600mm | 2116.61
A7E0011945580 | HV DOOR LABRRINTH | 94.29
A7E0011945590 | HV DOOR LABYRINTH HORIZONTAL 600mm | 78.13
A7E0011945620 | HV-door interlock 600mm LHF VT wda | 90.17
A7E0011946463 | SUPPORT ES CONTACT 1250A 800mm 31.5kA (l | 2417.19
A7E0011946830 | LVC DOOR MAINFRAME 800mm | 522.87
A7E0011947213 | CABLE DUCT 80x60mm 400 | 25.29
A7E0011947223 | CABLE DUCT 80x60mm 600 | 32.42
A7E0011947293 | CABLE DUCT 80x25mm 600 | 32.42
A7E0011947840 | HV-door spring labyrinth vertical left b | 96.46
A7E0011947870 | HV-door spring labyrinth vertical left M | 103.57
A7E0011947920 | Cover for cable duct top | 161.29
A7E0011947930 | Cover for cable duct bottom | 156.14
A7E0011948050 | HV DOOR LABYRINTH VERTICAL | 138.76
A7E0011948800 | BACK WALL FOR LVC 800x630mm | 839.07
A7E0011948840 | BACK WALL FOR LVC 600mm | 657.07
A7E0011949060 | Side_wall_left_for_LVC_600x630mm | 379.08
A7E0011949550 | side_wall_right_for_LVC_600x630mm | 408.34
A7E0011949640 | CABLE SUPPORT | 114.42
A7E0011949760 | LVC_door_mainframe_600mm | 408.9
A7E0011949800 | LV BOX MOUNTING | 122.95
A7E0011951343 | Screw Group for PRC | 162.97
A7E0011951673 | PRC MP Closed 600mm | 2304.01
A7E0011952223 | PRC MP closed 800mm | 2793.68
A7E0011953930 | Shutter interlock | 35.36
A7E0011953940 | Slider for lock | 88.41
A7E0011954943 | Floor_600mm_31,5kA_insulation_material_F | 1490.86
A7E0011954963 | Floor_800mm_31,5kA_insulation_material_F | 2326.63
A7E0011955303 | Con. bars between bushing & CT 600mm | 1434.61
A7E0011955323 | Support ES contact | 1961.49
A7E0011956380 | PRC Segment large 600mm | 509.27
A7E0011956510 | PRC frontside 600mm | 442.05
A7E0011956820 | PRC frontside MP 800mm | 554.75
A7E0011957423 | Lock_on_HV_Door_for_Cartridge_wo_padlock | 152.35
A7E0011957433 | Lock_on_HV_door_wo_padlock | 152.35
A7E0011957443 | Lock_door_kit_wo_padlock | 318.86
A7E0011958260 | CB interlock | 45.8
A7E0011961373 | HV DOOR INTERLOCK 800mm LHF MD | 125.16
A7E0011962853 | Shutter mask 600mm 17,5kV | 1926.24
A7E0011963453 | Al_contact_arm_1250A_31.5kA_17kV | 13608.28
A7E0011964343 | Support_for_bushing_and_CT_800mm | 2461.14
A7E0011967823 | HV DOOR INTERLOCK 600mm LHF | 113.37
A7E0011967993 | Al Contact arms for 1000A up to 31,5kA | 10016.93
A7E0011968123 | HV door 600mm LHF | 5755.8
A7E0011968143 | HV-door 600mm LHF welding assembly | 3577.43
A7E0011968153 | Shutter mechanism left 600mm | 1317.46
A7E0011968173 | Extension MC 600mm, 31,5kA cartridge | 439.58
A7E0011968193 | FELT FOR HV DOOR COVER 600mm | 116.49
A7E0011968203 | Felt assembly HV-door 600, 800, 1000mm | 92.48
A7E0011968253 | Additional labyrinth for 600mm MC cartri | 262.49
A7E0011968633 | HV-door interlock 600mm | 145.18
A7E0011968643 | HV-door interlock 800,1000mm | 145.18
A7E0011968863 | Micro_switches_for_sliders_800mm_w/o_mot | 514.16
A7E0011969603 | Interlock mechanism shutter right | 401.83
A7E0011973630 | Busbar 600-600mm 80x10 MP | 1657.28
A7E0011973710 | Busbar 800-800mm 80x10 MP | 2202.07
A7E0011982160 | INSULATING PLATE BOTTOM 600mm | 203.92
A7E0011984730 | LV_box_wiring_support_bracket | 57.87
A7E0011985500 | Felt 30x2x518mm | 14.05
A7E0011987730 | Ground_cover_insulated_w/o_cables_800mm | 1090.36
A7E0011987780 | Ground_cover_insulated_w/o_cables_600mm | 672.48
A7E0011991623 | Cover_plate_for_cable_canal_800mm | 462.79
A7E0011992363 | Cover_plate_for_cable_canal_600mm | 430.2
A7E0011992693 | Door_welding_800x630mm_LHF | 898.22
A7E0011992703 | LV_door_LHF_800x630mm | 1667.39
A7E0011993673 | LVC_main_frame_600x630mm_LHF | 2650.41
A7E0011993913 | LV_frame_800x630mm | 2903.92
A7E0011994103 | LVC_door_600x630mm_LHF | 1553.43
A7E0011994113 | LVC_door_600x630mm_LHF_welding_assm | 784.26
A7E0011994123 | DEVICE SUPPORT 800x630mm | 1341.45
A7E0011994223 | DEVICE SUPPORT 600x630mm | 1258.33
A7E0011995433 | Withdrawable part with inter. coil and E | 213.04
A7E0011995513 | Aux switch for cart. with inter. coil an | 377.33
A7E0012900653 | Busbar 600mm 1x80x10 MP | 5002.09
A7E0012900713 | Busbar 800mm 1x80x10 MP | 6666.29
A7E0012901830 | Sidewall_CC_left_600mm | 970.03
A7E0012901840 | Sidewall_CC_right_600mm | 989.1
A7E0012902040 | Sidewall_CC_left_800mm | 1023.32
A7E0012902050 | Sidewall_CC_right_800mm | 1015.61
A7E0012902100 | Partition_plate_MR-CC_800mm | 417.48
A7E0012903393 | Feeder bar 1250A-1250A | 3656.2
A7E0012903470 | Rear plate CC 600mm | 584.91
A7E0012903510 | Rear plate CC 800mm | 763.47
A7E0012904340 | Back panel PR 600mm | 470.37
A7E0012904360 | Back panel PR CC 800mm | 608.51
A7E0012904610 | Guide bar right bottom for lock 31.5kA | 208.52
A7E0012904620 | Shutter support right 800mm | 368.81
A7E0012904640 | Guide bar right bottom for lock 31.5kA | 214.15
A7E0012904650 | Stiffner guide bar right bottom | 106.08
A7E0012905070 | Shutter_mask_top_800mm_17.5kV | 248.98
A7E0012905560 | PR duct MC 800mm_2000A | 603.67
A7E0012905570 | Arc fault plate PR Duct MC 800mm | 414.36
A7E0012905580 | Cover PR duct MC 800mm | 342.34
A7E0012905590 | Closing plate PR duct 800mm | 204.21
A7E0012906410 | PR duct MC 600mm | 550.89
A7E0012908413 | CC_600mm_31_5kA | 3903.88
A7E0012908493 | CC_800mm_31_5kA | 4109.82
A7E0012908553 | Partition_plate_MR-CC_600mm | 568.78
A7E0012908583 | Partition_plate_MR-CC_800mm | 691.64
A7E0012909860 | Support lamellas for ES 1250A | 80.76
A7E0012911163 | Rear plate for CC 600mm | 876.86
A7E0012911203 | Rear plate for CC 800mm | 1116.96
A7E0012912483 | Back panel PR CC 600mm | 681.31
A7E0012912503 | Back panel PR CC 800mm | 827.89
A7E0012913303 | Bushings bolt caps | 348.64
A7E0012913723 | Shutter_mask_800mm_2000A_17_5kV | 2255.64
A7E0012913763 | PR duct MC 800mm | 2249.98
A7E0012914003 | PR duct MC 600mm | 1993.64
A7E0012916003 | Feeder bar 1250A 1250A 60x10 | 2664.74
A7E0012916200 | Connection_angle_600mm_Cu | 87.38
A7E0012916203 | Felt for PR Duct CC 600mm | 89.31
A7E0012916223 | Felt for PR Duct CC 800mm | 89.31
A7E0012920820 | Front_profile_600mm | 106.58
A7E0012920880 | Angle_for_front_profile_600mm | 96.28
A7E0012921780 | Front_profile_800mm | 131.58
A7E0012921790 | Angle_for_front_profile_800mm | 123.35
A7E0012922433 | Rating plate CB | 61.38
A7E0012923943 | Connection_parts_600mm_Cu | 346.44
A7E0012937573 | Earthing_ground_bar_CC_600mm | 541.38
A7E0012937593 | Earthing_ground_bar_CC_800mm | 677.58
A7E0012960883 | Wooden Pallet 800x1650x170 | 1667.3
A7E0012960923 | Wooden Pallet 1000x1650x170 | 1872.22
A7E0012961273 | Shutter mechanism right 800 cassette MD | 1915.15
A7E0012961293 | Shutter mechanism right 600mm | 2033.4
A7E0012962223 | Cover for PR duct MC 600mm | 433.8
A7E0012962233 | Cover for PR duct MC 800mm | 574.7
A7E0012962813 | Siemens label for HV-door | 67.39
A7E0012963403 | Label for door English | 19.45
A7E0012963443 | Label for Earthing switch English | 19.45
A7E0012963543 | Label for Partition Plate MC-CC English | 19.45
A7E0012963573 | Centre of gravity label | 26.8
A7E0012963583 | Label for plug assembling | 36.48
A7E0012963883 | LVplug_label with_EM_interlock_Disconnec | 36.06
A7E0012968950 | Feeder bar L2 1250A 1250A 60x10 | 922.99
A7E0012968960 | Feeder bar L3 1250A 1250A 60x10 | 1003.98
A7E0012968970 | Feeder bar L1 1250A 1250A 60x10 | 619.53
A7E0012969300 | Current bar bushing CT | 423.45
A7E0012969340 | Connection bar | 316.62
A7E0012976100 | Ground_Bar_CC_600mm | 378.41
A7E0012976120 | Ground_bar_CC_800/1000mm | 514.61
A7E0012984950 | Support_isolated_plates_800mm | 88.04
A7E0012990150 | Panel Plate | 24.43
A7E0012991093 | Siemens lable at LV-door | 63.61
A7E0012991383 | Panel Plate | 44.96
A7E0017757543 | Bar_bushing_1x80_600mm | 3335.3
A7E0017757573 | Connection_for_4_cable_2x60_600mm | 9003.97
A7E0017776250 | CABLE CONN DISTANCE COPPER | 169.04
A7E0017776340 | CABLE CONN BAR 2 600MM | 870
A7E0017776350 | CABLE CONN BAR 1 600MM | 932.58
A7E0017776360 | CABLE CONN FLAG | 142.36
A7E0017776370 | CABLE CONN FLAG 2 | 142.36
A7E0017776430 | CURRENT BAR BUSHING CT 10X80 | 659.86
A7E0017778180 | CURRENT BAR DISTANCE | 112.8
A7E0017778190 | CURRENT BAR COOLING | 284.35
A7E0076192173 | Label solenoid interlock ES (ENG) | 34.8
A7E0076192183 | Label solenoid interlock DU (ENG) | 34.8
A7E0076495663 | TUELLENGEHAEUSE F. ENDSCHALTER | 3.67
A7E1002253902 | BL EN10143-DX51D+Z275MA-CO-2,5x1250x2500 | 41.54
A7E1002253922 | BL EN10143-DX51D+Z275MA-CO-1,0x1250x2500 | 41.54
A7E1002709901 | Blech EN10051-DD11/DD12-2,0x1250x2500 | 41.54
A7E1002709902 | Blech EN10051-DD11/DD12-2,5x1250x2500 | 41.54
A7E1002799919 | Blech EN10131-DC01Am-1,5x1250x2500 | 41.54
A7E1999939735 | HUTSCHIENE EN 60715-35x7,5-ZN6C | 30.13
A7E1999999995 | Altern. Mat. f Sachnr 110/ 1,0mm Blech | 41.54
A7E1999999996 | Altern. Mat. f Sachnr 110/ 1,5mm Blech | 41.54
A7E1999999997 | ALTERN. MAT. F SACHNR 110/ 2,0mm BLECH | 41.54
A7E1999999998 | Altern. Mat. f Sachnr 110/ 2,5mm Blech | 41.54
A7E1999999999 | Altern. Mat. f Sachnr 110/ 3,0mm Blech | 41.54
A7E2000000010 | Stange EN13601-CU-ETP-R300-10X60-CE | 368.1
A7E2210332029 | Stange 30x5 EN13601-Cu-ETP-H085 | 368.1
A7E2210332030 | STANGE 40x5 EN13601-CU-ETP-H085 | 368.1
A7E2210332049 | Stange 50x10 EN13601-Cu-ETP-H085 | 366.94
A7E2210332050 | Stange 60x10 EN13601-Cu-ETP-H085 | 368.1
A7E2210332085 | Stange 60x5 EN13601-Cu-ETP-H085 | 366.94
A7E2210333039 | Blech 5x1000x2000 EN13599-Cu-ETP-H090 | 368.1
A7E2210338051 | Stange 80x10-R5 EN13601-Cu-ETP-H085 | 368.1
A7E3000000034 | TFL EN 60893 UPGM 203GP03-GR 1250x1250x5 | 2880.42
A7E3202214985 | KLEBEBAND SN50020 8X5-PUR-N6-SW | 36.59
A7E3512013330 | TFL-UPM-S16-DUROSTONE-2470x1250x5 | 6237.05
A7E3643006216 | KLEBSTR SN50031-FILZTM 28-20X6 ROLLE=6M | 56.8
A7E3711908001 | DICHTPOFIL PVC+B-GR | 27.13
A7E3726203435 | TFL DIN16801-PC3-FL281 | 877.87
A7E4000000168 | BOLZEN EN ISO 13918-PTM8x16-C2E | 1.66
A7E4000000865 | ZYL-SHR-IN-6KT/ISO 4762-M12X210-8.8-TDS1 | 105.21
A7E4000000867 | 6KT-SHR-SHA/ISO 4014-M12x195-8.8-TDS1 | 101.39
A7E4004410259 | FL-KPF-SHR-4KT/DIN 603-M10x65-8.8-TDS1 | 12.79
A7E4101810375 | BLINDNIET ISO 15979-4x8-ST/ST | 0.65
A7E4414001225 | RIEGELVERSCHLUSS- SWS- 3MM DOPPELBART | 362.75
A7E4535170014 | SCHILD SN66355-1-A14-K1 selbstklebend | 43.08
A7E4557390016 | SCHILD 2A20-12,5-KF-DRU | 1.74
A7E4720531630 | KRONECK-VERSCHRBG-PG29 LANG VERSION (64) | 334.54
A7E0011059800 | BRACKET F SHUTTER RODS 600mm | 23.5
A7E0011018610 | Microswitch lever for ES | 12.12

## Sayfa4
CB
17.5 | 1250A | 25kA | 1600A | 3AE5664-3BC22-0CN3-Z D91+F20+W63+F38+G39
17.5 | 1000A | 25kA | 1250A | 3AE5624-2AC20-0CN3-Z D91+F20+W63
17.5 | 1250A | 31,5kA | 1600A | 3AE5665-3BC22-0CN2-Z F20+W63+F38+G39
17.5 | 1000A | 31,5kA | 1250A | 3AE5655-2AC20-0CN2-Z F20+W63+F38